**仪器货号：NP190**

**仪器产地：美国**

**Specifications  
Spectral Range      190 nm to 11μm   
Maximum Power     10 W  
Minimum Power      1 mW  
Minimum Energy     0.1 mJ  
Probe Aperture       12 mm diameter   
Accruacy               ±2.5 %  
Repeatability          ±0.5 %  
Resolution             ±0.5 %**