**仪器货号：NP190**

**仪器产地：美国**

**Specifications
Spectral Range      190 nm to 11μm
Maximum Power     10 W
Minimum Power      1 mW
Minimum Energy     0.1 mJ
Probe Aperture       12 mm diameter
Accruacy               ±2.5 %
Repeatability          ±0.5 %
Resolution             ±0.5 %**