| 品牌： | ROOKO瑞柯 | 税 率 |
| --- | --- | --- |
| 请选择对应 销售公司 | 宁波瑞品仪器有限公司 | 开具13%增值税专用发票 |
|  | 宁波盘羊仪器有限公司 | 开具3%增值税普通发票 |
| 开票品名/规格： | FT-102BA粉体特性分析仪 |

FT-102BA粉体特性测试仪

Intelligent powder characteristics tester series

- 功能描述：Function description:

提供中文或英文语言版本选择，，自动测量控制系统，分析粉末和颗粒物料，采用光电测量系统自动测量数据，数据由集成电路系统处理并分析评定物料的流动性状态，反映粉体和颗粒的流动能力和密度数据为料仓设计，破拱方式和物料制作工艺提供数据依据，同时在制药填充及片剂工艺过程中在质量管控及流动性方面提供依据，.

配备打印机系统自动打印所需数据，自动搅拌器，液晶显示，自动出口阀门控制.数字面板操作.选购PC软件能获得流速及休止角变化曲线图谱，数据分析，数据管理，报表等.

Independent research and development, to provide Chinese or English language version of the choice, adopt intelligent operation mode, automatic measurement control system, the analysis of the powder and granular materials

Adopts photoelectric measuring system Automatic measure, all data are processed  by high precision chip and integrated circuit system and automatic analysis and evaluation the liquidity status of the material,

solving powder arch way and improve  material processing technology to provide data basis, at the same time provide a basis for quality control and improve liquidity, especially in the pharmaceutical filling process, and tablet process.

Equipped with the printer automatically printed data needed, automatic mixer, liquid crystal display, Models have a variety of models of various models as shown in the following tableautomatic outlet  control valve. Digital panel operation. Optional and buy PC software can obtain the flow velocity and the Angle of repose change curve, data analysis, data management, report and so on.

二、参照标准：usage criteria

GB11986-89 、ISO4324-1977；中国药典、USP（美国药典）、BP （英国药典）、EP（欧洲药典）的规范要求；参照标准：DIN ISO 4324 – December 1983；美国ATSM6393-08;欧洲药典EP7.0中的07/2010:20934,美国药典616

GB11986-89 、ISO4324-1977;Meet the requirements of the Chinese pharmacopoeia, USP(united states pharmacopeia),, BP( British Pharmacopoeia), EP (European pharmacopoeia); Reference standard: DIN ISO 4324-december 1983; ATSM6393-08 in the United States;07/2010 in EP7.0 of European pharmacopoeia: 20934, American pharmacopoeia 616

三、适用范围：scope of application

用于制药，化工，农业、矿业、冶金、颜料、食品、陶瓷、生物提取，科研、质检机构，大中专院校对粉体和颗粒的物性分析，研发，品质管控，及在料仓设计方面的应用.

Widely used in pharmaceutical, chemical, Agriculture, mining, metallurgy, pigment, food, ceramics biological extraction, scientific research, quality inspection institutions, colleges physical property analysis of the powder and granular, new product research and development, quality control, and powder equipment enterprises in the application of silo design.

四、各型号功能及参数明细Technical Parameters

| 功能描述/型号 | FT-102BA |
| --- | --- |
| 1．漏斗Funnel： | 由圆柱形量筒配置多个可转换漏斗组成，漏斗材质为不锈钢材料制成. t |
| 2. 可转换漏斗口径Convertible funnel diameter mm： | 选购：2.5；4.0；5.0；6.0；7.0；8.0；9.0；10；14；15；16；17；18；25 |
|  | 标配5个standard 5pcs |
| 3.时间范围Time： | 0-9999.9S设定set，精度为accuracy 0.1s |
| 4称量Weighing： | 0-2000.0g；精度precision 0. 1g |
| 5.漏斗容积FunnelVolume： | 200ml |
| 6.接收容器receiving container | 25ml、100ml、200ml、250ml、500ml（根据用户需求选配规格，标准配置为1个）standard configuration is 1pcs |
| 7.振实密度Tap density | 0-999.999g/ml |
| 8.松装密度Bulk density | 0-999.999g/ml |
| 9. 温湿度范围emperature and humidity | 18-40℃ 相对湿度在relative humidity 35-80% |
| 10. 质量流速Mass flow rate | 0-999.99g/s |
| 11.体积流速Volume flow rate | 0-999.99g/ml |
| 12. 打印机printer | 自动打印出测试数据及流动指数 printer is automatically print test data and flow index. |
| 13. 搅拌装置Mixing device | 自动搅拌下料功能. Equipped with automatic mixing feeding function |
| 14.电源power supply | 220V±10% |
| 15. 选购Choose | 软件1套Choose to buy a set of PC software |

粉体综合分析解决方案：

FT-3400粉体流动行为分析仪（静态力学，剪切法）

FT-7100粉体流动测试仪（动态力学，转鼓法或旋转圆筒法）

FT-3900粉末屈服强度分析仪（单轴压缩法）

FT-3500粉体压缩强度测试仪（可压性，压缩方程）

FT-2000颗粒和粉末特性分析仪系列(传统方法)

FT-301系列粉末电阻率测试系统（电性能）

ROOKO瑞柯仪器

-------专注于粉体&新材料测量与分析仪器解决方案

----解决粉体表征：

流与不流分析  ；粒度；水分；体积分析；电导性、静电电荷分析.

----我们一直在做：

研发、生产、销售、租赁、实验室样品分析及后延扩展服务.