名称：便携式电子拉拔测试仪

型号：LB-6S

便携式电子拉拔测试仪适用于各类粘接强度及各类保温材料抗拉强度的检测。采用机电体化设计理念，锂电池供电，微电机驱动，微处理器控制，人性化的外观设计使它操作更加简单、快捷和智能。恒定的加载速率，无需人工加力，避免人为因素对试验结果造成影响，从而提高测试的准确性。也适用于拉伸粘结强度（胶粘剂、抹面胶浆、保温系统、饰面砖粘接强度），垂直于板面方向的抗拉强度（保温材料的抗拉强度、复合板的抗拉强度）等检验。

The portable electronic pull tester is suitable for the detection of various bond strengths and tensile strength of various insulation materials. Using electromechanical design concept, lithium battery power supply, micro motor drive, microprocessor control, user-friendly design makes it easier, faster and smarter to operate. Constant loading rate, no need for manual force, avoiding the influence of human factors on the test results, thus improving the accuracy of the test. Also suitable for tensile bond strength (adhesive, plastering, insulation system, veneer bonding strength), tensile strength perpendicular to the board surface (tensile strength of insulation, tensile strength of composite panels), etc. test.

便携式电子拉拔测试仪产品特点：

★包含了驱动控制电路、模拟信号处理、大容量数据存储功能。

★可根据客户需求调配大测量力，并具有力值实时显示等智能化功能。

★具有恒定加载速率功能。

★机械式保护装置与硬件保护设置相结合。

★仪器的动力采用微电机驱动，锂电池供电，适合环境恶劣的情况下检测。

★充电后可连续试验次数不小于80次。

★配备保护带和专用的仪器箱，方便携带。

★可选配仪器试验台进行抗拉强度试验。

Portable Electronic Pull Tester Features:
★ Includes drive control circuit, analog signal processing, and large-capacity data storage.
★ It can be equipped with large measuring force according to customer's needs, and has intelligent functions such as real-time display of force value.
★ Has a constant loading rate function.
★ Mechanical protection device combined with hardware protection settings.
★The power of the instrument is driven by micro-motor and powered by lithium battery, which is suitable for detection under harsh conditions.
★ The number of consecutive tests after charging can be no less than 80 times.
★ Equipped with a protective tape and a dedicated instrument case for easy carrying.
★ Optional instrument test bench for tensile strength test.

便携式电子拉拔测试仪技术参数

★使用环境温度-10℃~45℃

★操作湿度≤80%

★电源12V

★拉力值可达6000N

★力值分辨率1N

★示值相对误差1%

★示值相对重要性0.5%

★外形尺寸：361X241X149mm

★重量：4kg

Portable electronic drawing tester technical parameters
★Use ambient temperature -10 °C ~ 45 °C
★ Operating humidity ≤ 80%
★Power supply 12V
★ Pull value up to 6000N
★ Force value resolution 1N
★ indication value relative error 1%
★The relative importance of indication value is 0.5%
★Dimensions: 361X241X149mm
★ Weight: 4kg

便携式电子拉拔测试仪应用范围：

通过微处理器控制电机提供驱动力自动恒速加载,避免了由于人工加载时速度无法恒定等因素对试验结果造成影响。采用预紧球头配合万向头方式与试件连接，即可预紧节省试验时间，同时提高了安装速度保证了试件的对中性。

Portable electronic drawing tester application range:
The microprocessor controls the motor to provide driving force for automatic constant speed loading, which avoids the influence of the speed and the constant speed of the manual test. By using the pre-tightening ball head and the universal head to connect with the test piece, the test time can be saved pre-tightened, and the installation speed is improved to ensure the alignment of the test piece.

便携式电子拉拔测试仪适用标准：

GB50411  《建筑节能工程施工质量验收规范》

GB23440《无机防水堵漏材料 》

JGJ110《建筑工程饰面砖粘结强度检验标准》

GB/T23445  《聚合物水泥防水涂料》

JGJ126《外墙饰面砖工程施工及验收规程》

GB/T23455《外墙柔性腻子》

JGJ144《外墙外保温工程技术规程》

JG/T157《建筑外墙用腻子》

JG/T298《建筑室内用腻子》

GB/T29906《模塑聚苯板薄抹灰外墙外保温系统材料》

JC/T547 《陶瓷墙地砖胶粘剂》

GB/T25975《建筑外墙外保温用岩棉制品》

JC/T2090 《 聚合物水泥防水浆料》

JG/T158 《胶粉聚苯颗粒外墙外保温系统材料》

GB/T25181 《预拌砂浆》

JG/T287《保温装饰外墙外保温系统材料》

JGJ/T220 《抹灰砂浆技术规程》

JG/T314 《聚氨酯硬泡复合保温板》

C/T984《聚合物水泥防水砂浆》

Portable electronic pull tester for standard:
GB50411 "Code for acceptance of construction quality of building energy-saving projects"
GB23440 "Inorganic Waterproof Plugging Material"
JGJ110 "Testing Standard for Bond Strength of Building Finishing Tiles"
GB/T23445 "Polymer cement waterproof coating"
JGJ126 "Construction and Acceptance Procedures for Exterior Wall Finishing Bricks"
GB/T23455 "Exterior wall flexible putty"
JGJ144 "Technical Regulations for External Thermal Insulation Engineering"
JG/T157 "Purch for exterior walls"
JG/T298 "Building Interior Putty"
GB/T29906 "Molded polystyrene board thin plastering exterior insulation system material"
JC/T547 "Ceramic Wall and Floor Tile Adhesive"
GB/T25975 "rock wool products for exterior insulation of buildings"
JC/T2090 "Polymer cement waterproofing paste"
JG/T158 "Glue powder polystyrene particle exterior insulation system material"
GB/T25181 "Premixed mortar"
JG/T287 "Insulation decorative exterior insulation system material"
JGJ/T220 "Technical Regulations for Plastering Mortar"
JG/T314 "Polyurethane rigid foam composite insulation board"
C/T984 "Polymer cement waterproof mortar"