名称：防眩板抗冲击试验仪

型号：CJ-900

荣计达产品编号：

上海荣计达仪器科技有限公司**经营水泥实验仪器、混凝土实验仪器、公路土工实验仪器、干粉砂浆保温砂浆实验仪器、沥青防水材料实验仪器、油漆涂料实验仪器、无损检测等实验仪器。**经营水泥实验仪器、混凝土实验仪器、公路土工实验仪器、干粉砂浆保温砂浆实验仪器、沥青防水材料实验仪器、油漆涂料实验仪器、无损检测等实验仪器。公司产品凭借过硬的质量、完善的售后服务、合理的价格畅销各大院校、检测单位、建材企业、工程建设单位。在消费者当中享有较高的地位和良好的口碑，用户遍布国内近三十个省市、自治区，并远销国外，与用户建立了长期稳定的合作关系。公司实力雄厚，重信用、守合同。有健全的管理制度和完善健全的质量管理体系。并有反应迅速、服务周到的售后服务系统。我们将不懈努力、一如既往以优异的品质为客户服务。

Shanghai Rongjida Instrument Technology Co., Ltd. ** operates cement experiment equipment, concrete experiment equipment, highway geotechnical experiment equipment, dry mortar thermal insulation mortar experiment equipment, asphalt waterproof material experiment equipment, paint coating experiment equipment, nondestructive testing and other experimental equipment. ** Operating cement experiment equipment, concrete experiment equipment, highway geotechnical experiment equipment, dry mortar thermal insulation mortar experiment equipment, asphalt waterproof material experiment equipment, paint coating experiment equipment, non-destructive testing and other experimental equipment. Company products rely on excellent quality, perfect after-sales service, reasonable prices sell well in major universities, testing units, building materials enterprises, engineering construction units. It enjoys a high status and a good reputation among consumers, and has customers in nearly 30 provinces, cities, and autonomous regions in China, and has been exported to foreign countries. It has established long-term and stable cooperative relationships with users. The strength of the company, credit and contract compliance. Have a sound management system and a sound quality management system. And has a responsive and thoughtful after-sales service system. We will make unremitting efforts to serve our customers with excellent quality as always.

一、防眩板抗冲击试验仪性能要求：

符合GB/T24718-2009《防眩板》第5.5.3.3条中抗冲击强度测定的规定。锤上下高度可调，并能自由释放，锤表面淬火处理，具有结构合理、操作简单、适用性广、测量精度高、测量安全及可靠性好等特点。

Performance requirements of anti-glare plate impact tester:

It complies with GB / T24718-2009 "Anti-glare plate" Article 5.5.3.3 for determination of impact strength. The height of the hammer can be adjusted up and down, and it can be released freely. The surface of the hammer is quenched. It has the characteristics of reasonable structure, simple operation, wide applicability, high measurement accuracy, good measurement safety and reliability.

二、防眩板抗冲击试验仪主要技术指标：

★钢球重量1kg

★钢球落差1000mm

★实验台尺寸310*240*21（mm）

★ 防眩板可测量高度700~1000mm

★防眩板可测量宽度80~250mm

Second, the main technical indicators of anti-glare plate impact tester:

★ Steel ball weight 1kg

★ Steel ball drop 1000mm

★ The size of the test bench is 310 * 240 * 21 (mm)

★ Anti-glare plate can measure height of 700 ~ 1000mm

★ Anti-glare plate can measure width 80 ~ 250mm