RQSS1008

Oct 28, 2008

Bo Tian
STEVEN SEPVEST CORP.
www.sepvest.com <http://www.sepvest.com> 
Tel: (703）209-2505
Fax: (703) 891-9809
email: bo@sepvest.com

| ITEM | QTY | DESCRIPTION | AMOUNT |
| --- | --- | --- | --- |
| 1 | 1 | PHO-SES 300 Phosphor VUV/UV/VIS Spectral Evaluation System Including VUV/UV light source 115 to 300 nm 300 mm motorized VUV monochromator VUV Collimator assembly PMT VUV intensity calibration assembly Motorized Target wheel Fiber optic Emission CCD spectrometer Computer control and data acquisition system Vacuum pumping station NIST calibrations | USD 99,050 |

Quote firm for 30 days

Terms: Net 30 Days

F.O.B. Barrie, ON

All Applicable Duty & Taxes Extra